## Instrument
ITEM | DEC |  |  | QTY
1 | RTD PT100 3WIRES RANGE-200 TO 750 & THERMOWELL | N.P. CODE: RPO 27018 SOM 6607866 | TURBINE JOURNAL BRG#2&#3 LUBE OIL DRAIN | 7
2 | RTD PT100 3WIRES RANGE-200 TO 750 & THERMOWELL | N.P. CODE: RPO27024 SOM 6607866 | TURBINE JOURNAL BRG#4 LUBE OIL DRAIN | 7
3 | RTD PT100 3WIRES RANGE-200 TO 750 | N.P. CODE: RTO31627 SOM 45953 | TURBINE JOURNAL BRG#1 LUBE OIL DRAIN | 7
4 | RTD PT 100 3WIRES 200 TO 750 | N.P. CODE: RTO69960 SOM 45953 | TURBINE JOURNAL BRG#1 LUBE OIL DRAIN | 7
5 | DOUBLE RTD PT100 3WIRES - 220 TO 750 | N.P. CODE: RTO69814 SOM 32448 | THRUST ACTIVE BRG #1 LUBE OIL DRAIN | 20
6 | DOUBLE RTD PT100 3WIRES - 220 TO 750 | N.P. CODE: RTO77740 SOM 32448 | THRUST ACTIVE BRG #1 LUBE OIL DRAIN | 7
7 | TC (THERMOCOULE) TYPE "K" RANGE 0 TO 1250 | N.P. CODE: RTO63755 SOM66521 | WHEEL SPACE TEMPERATURE | 7
8 | TC (THERMOCOULE) TYPE "K" RANGE 0 TO 1250 | N.P. CODE: RTO63756 SOM 66521 | WHEEL SPACE TEMPERATURE | 7
9 | TC (THERMOCOULE) TYPE "K" RANGE 0 TO 1250 | N.P. CODE: RTO63870 SOM 66521 | WHEEL SPACE TEMPERATURE | 7
10 | TC (THERMOCOULE) TYPE "K" RANGE 0 TO 1250 | N.P. CODE: RTO 655850070 ITN66518 | WHEEL SPACE TEMPERATURE | 7
11 | TC (THERMOCOULE) TYPE "K" RANGE 0 TO 1250 | N.P. CODE: RTO63871 ITN 66521 | AXIAL COMPRESSOR DISCHARGE TEMPERATURE | 7
12 | TC (THERMOCOULE) TYPE "K" RANGE 0 TO 1250 | N.P. CODE: RTO 65122 ITN 66522 | AXIAL COMPRESSOR INLET TEMPERATURE | 7
13 | TC (THERMOCOULE) TYPE "K" RANGE 0 TO 1250 | N.P. CODE: RTO 68356 ITN 66520 | EXHAUST TEMPERATURE THERMOCOUPLE | 7
14 | TC (THERMOCOULE) TYPE "K" RANGE 0 TO 1250 | N.P. CODE: RTO 69366 ITN66520 | EXHAUST TEMPERATURE THERMOCOUPLE | 15
15 | TC (THERMOCOULE) TYPE "K" RANGE 0 TO 1250 | N.P. CODE: RTO69367 ITN 66520 | EXHAUST TEMPERATURE THERMOCOUPLE | 7
16 | FLAME DETECTOR | RRO 56028 SOM 18067 | FLAME DETECTOR COMBUSTION | 7
17
18
19
20

## Consumable
ITEM | DEC | part number
COMBUSTION CHAMBER ASSEMBLY
1 | SAFETY PLATE ( FUEL NOZZLE BODY LOCK PLATE ) | SMP 50011
2 | GASKET | KFZ 326620004
3 | GASKET ( FOR FLAME DETECTOR AND SPARK PLUG) | KFZ 213400324
4 | GASKET ( FOR COMBUSTION BODY TO DISCH CASING AND CAP) | KFZ 280380144
5 | GASKET ( FOR CROSS FIRE TUBE FLANGES | KFZ 270770144
6 | GASKET ( FOR FUEL NOZZLE BODY) | KFZ 326180324
TRANSITION PIECE
7 | GASKET (OUTTER FLOATING SEAL ) | KFZ 000502100
8 | GASKET (STRIP PACKING FOR 1ST STAGE NOZZLE) | KFZ 278940284
COMBUSTION CHAMBER WRAPPE OUTER CASE
9 | HELI COIL POS:13 | RFR 330780000
10 | SCREW POS:14 | GFY 44254
TRANSITION PIECE REPAIR HW
11 | SAFETY PLATE (LOCK PLATE OF RVQ20568) | SMR 50165
COMPRESSOR DISCHARGE CASING ASSEMBLY
12 | ANCHORAGE | SMP 66406
FUEL GAS PIPING
13 | GASKET | KFZ 269830144
1ST STAGE WHEEL SPACE THERMOCOUPLE
14 | O-RING GASKET | KHA 034503501
TURBINE CASING ASSEMBLY
15 | ECCENTRIC SUPPORT | SMO 27021
16 | CALIBRATED PIN | RPQ 01749
17 | SEAL BLOCK | SMR 21717
18 | SEAL BLOCK | SMU 45792
19 | SEAL BLOCK | SMU 45793
20 | PLUGE, POS 85 | RTR 03182
21 | KEY, POS 122 | SMR 44802
22 | KEY, POS 123 | SMR 44803
23 | BAND (TRIP ), POS 46 | MAN 200064
24 | BAND (TRIP ), POS 47 | MAN 200068
1ST STAGE NOZZLE
25 | HELI COIL POS:10 | RFU 330030060
26 | HELI COIL POS:11 | RFU 331040060
27 | HELI COIL POS:12 | RFU 330060060
28 | SCREW POS:5 | HEW 25139
2ND STAGE NOZZLE
29 | SEAL BLOCK | SMR 21713
30 | SEAL BLOCK | SMR 21712
31 | SEAL BLOCK | SMR 21714
32 | STRIP, POS 40 | SQO 27543
33 | SEAL BLOCK | SMR 21715
34 | SEAL BLOCK | SMR 21716
I.G.V.ARRANGEMENT
35 | BUSH | SMT 25719
36 | SCREW | HEH 09031
37 | PIPE | SMR 76977
38 | BUSH | SMO 25906
39 | WASHER | SMT 33739
LUBE OIL INTERNAL CASE PIPING
40 | O-RING | KFZ 320590004
41 | GASKET | KFZ 266880004
42 | GASKET | KFZ 269720144
43 | GASKET | KFZ 269810144
44 | GASKET | KFZ 269890144
45 | GASKET | KFZ 320300144
46 | GASKET | KFZ 320330144
47 | GASKET | KFZ 223960604
COOLING AND SEALING AIR PIPING LINE / LUBE OIL EXTERNAL CASE PIPING
48 | GASKET | KFZ 316190604
49 | O-RING | KHA 037603501
50 | GASKET | KFZ 273100144
51 | GASKET | KFZ 269830844
COOLING AIR PIPING
52 | GASKET | KFZ 272920844
53 | GASKET | KFZ 273090884
54 | GASKET | KFZ 273100884
HYDRAULIC RATCHET
55 | FILTER | RFO 044466
SPARE PLUGE
56 | GASKET | KFZ 194380704
LOAD COUPLING AND COUPLING GUARD
57 | BLOT (ITEM 8 IN DWG NO:SOM55933/2) | IRG 3345802
58 | NUT(ITEM 9 IN DWG NO:SOM 55933/2)(FOR ST013681) | IRG 3345801
59 | GASKET | KFZ 229080603
60 | GASKET | KFZ 229090603
ACCESSORY COUPLING AND COUPLING GUARD
61 | TWELVE POINT SELF LOCKING NUT(ITEM 3 IN DWG NO: SOM 10922/10 | 8240097-015
62 | TWELVE POINT FIT BOLT (ITEM 2 IN DWG NO: SOM 10922/1) | 8240097-005
BEARING NO.1 ASSEMBLY
63 | SEAL RING | SMO 0586300
64 | OIL DEFLECTOR | SMO 1513600
BEARING NO.2 ASSEMBLY
65 | OIL SEAL | SMO 1518801
BOLTING AND DOWELING
66 | PIN | RPQ 02803
67 | PLUG POS:21 | JLE 000003042
2ND STAGE DIAPHRAGM
68 | HELICOIL POS:5 | RFV 33109060
69 | SEAL SECTOR POS:8 | SMR 53548
INNER EXHAUST CASING
70 | HELICOIL POS:6 | RFR 331190000
71 | HELICOIL POS:8 | RFR 331050000
OILL MIST
72 | OIL MIST SEPRATOR FILTER CARTRIDGE(MFR:MF FILTERS) S.R.L, SPEC:RSO 33889) | FILTER CODE : FN0070/09
73 | OIL MIST SEPRATOR FILTER CARTRIDGE(MFR:MF FILTERS) S.R.L, SPEC:RSO 3376) | FILTER CODE : F353/05
74 | OIL MIST SEPRATOR FILTER CARTRIDGE(MFR:MF FILTERS) S.R.L, SPEC:RS 26610) | FILTER CODE : F172
BUCKETS HARDWARES
75 | SEAL PIN, BUCKET STG.1 | SMO 56162
76 | SEAL PIN, BUCKET STG.2 | RTQ 21562
77 | TWIST LOCK | SMR 73258
78 | GASKET , SPIRAL WOUND 1"150#,316L, ASME 16.20 WITHOUT INNER RING, THK. 5MM, OUTER RING MATERIAL STAINLESS STEEL | N/A
79 | GASKET , SPIRAL WOUND 1 1/2 "150#,316L, ASME 16.20 WITHOUT INNER RING, THK. 5MM, OUTER RING MATERIAL STAINLESS STEEL | N/A
80 | GASKET , SPIRAL WOUND 3"150#,316L, ASME 16.20 WITHOUT INNER RING, THK. 5MM, OUTER RING MATERIAL STAINLESS STEEL | N/A
81 | GASKET , SPIRAL WOUND 3"300#,316L, ASME 16.20 WITHOUT INNER RING, THK. 5MM, OUTER RING MATERIAL STAINLESS STEEL | N/A
82 | GASKET , SPIRAL WOUND 4"150#,316L, ASME 16.20 WITHOUT INNER RING, THK. 5MM, OUTER RING MATERIAL STAINLESS STEEL | N/A
83 | GASKET , SPIRAL WOUND 6"150#,316L, ASME 16.20 WITHOUT INNER RING, THK. 5MM, OUTER RING MATERIAL STAINLESS STEEL

## Capital
ITEM | DEC | MODEL |  | QTY
1 | SHROUD SET, 1ST STG. 40NO.S ( 40 X SMR23201) | MS5002C/D | SMO 0620056 | 1
2 | NOZZLE ARR, 1ST STG | MS5002D | SMO 17345213 | 1
3 | KIT BUCKET, 1ST STG (INCLUDING BLADES QTY:80 P/N:SMQ 48313, MATERIAL : GTD111 DS, SEAL PIN QTY :80 P/N: SMO 56162 TWIST LOCK QTY :80 P/N:SMR 73258) | MS5002C/D | SMO 1165123 | 2
4 | HP COVER PLATE KIT, 4X40 PCS | MS5002C/D | SMO 1103600 | 2
5 | LINER BEARING NO:1 (2HALVES) | MS5002C/D | SMO 1523024 | 1
6 | BEARING, HP UNLODED THRUST (2HALVES) | MS5002D | RCO 36183 | 1
7 | BEARING, HP LOADED THRUST | MS5002D | RCO36453 | 1
8 | LINER BEARING NO:2 (2HALVES) | MS5002C/D | SMO 37963 | 2
9 | CROSS FIRE TUBE | MS5002C/D | SMO 0478702 | 12
10 | RETAINER , PLATE F/MODEL MS5002C/D | MS5002C/D | SMP 64026 | 24
11 | FUEL NOZZLE TIP, ( EX:SMR 82552 OR SMR 82550) | MS5002D | SOM 6600764 | 36
12 | BLADE ROTOR COMPR , STG1( C450) | MS5002D | SMR 5951387 | 32